## Summary
Power Efficiency Corporation
CASHFLOW CALCULATION FOR THE POWER GENIUS™
The following projections illustrate the estimated payback and Rate of Return for a given
motor based on duty cycle and energy cost as defined by the variables entered below.
Basic Terms:
1. Estimated product life of 15 years.
2. IRR calculations are based on annual power cost increase estimate
3. Fields in red text are required entries
4. Project $$ saving do not include demand charges, usages, etc. levied by power company
| System Details: | Per Unit | Total Project
| Horsepower | 5 | 10
| Units | 1 | 2
| Voltage | 460 | 460
| Operating hours per day | 11 | 11
| Operating days per week | 6 | 6
| Price per kWh | 0.04779 | 0.04779
| Total selling price per unit | 1350 | 2700
| Installation Cost | 0 | 0
| Net Cost Of Project | 1350 | 2700
| Assumed Savings from Performance Controller | 50% | 50%
| Estimated annual power cost increase (%) | 5% | 5%
Summary Results:
| PEC Model Number | PC3-46-5-E1-11
| Estimated kWh used without Power Genius | 3072.0376 | 6144.0751
| Estimated Energy Cost Without Power Genius | 146.8127 | 293.6254
| Estimated kWh used with Power Genius | 1536.0188 | 3072.0376
| Estimated Energy Cost With Power Genius | 73.4063 | 146.8127
| Estimated kWh saved per year | 1536.0188 | 3072.0376
| $$ saved per year (at current kWh rate) | 73.4063 | 146.8127
| Internal Rate of Return (IRR) | 1.847% | 1.847%
| Resulting Payback (years) | 18.3908 | 18.3908

## Cash Flow Data
Power Efficiency Corporation
CASHFLOW CALCULATION FOR THE POWER GENIUS™
Projected Cash Flow Calculator:
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9
Initial Purchase | -1350 | -1276.5937 | -1199.517 | -1118.5865 | -1033.6095 | -944.3836 | -850.6965 | -752.325 | -649.0349
Annual cost savings | 73.4063 | 77.0767 | 80.9305 | 84.977 | 89.2259 | 93.6872 | 98.3715 | 103.2901 | 108.4546
Net annual cash flow | -1276.5937 | -1199.517 | -1118.5865 | -1033.6095 | -944.3836 | -850.6965 | -752.325 | -649.0349 | -540.5803
[7 empty] | Net Cash | Net Present
| Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Flow | Value
-9174.7467
Annual cost savings | 113.8773 | 119.5712 | 125.5497 | 131.8272 | 138.4186 | 145.3395 | 1584.0033
Net annual cash flow | 113.8773 | 119.5712 | 125.5497 | 131.8272 | 138.4186 | 145.3395 | -7590.7434 | -5620.5871

## INDEX (hidden)
Note; Calculations assume .65%fla design point, .65 duty cycle and .275 energy savings
MODEL NO. | V | HP | INDEX | FLA | Platform |  |  | INPUT ASSUMPTIONS
| 208 | 7.5 | 208.75 | 22 | A | PC3-20-7.5-E1-22
| 208 | 10 | 209 | 28 | 1 | PC3-20-10-21-28
| 208 | 15 | 209.5 | 42 | 2 | PC3-20-15-22-42 |  | 11 | Operating hours per day
| 208 | 20 | 210 | 54 |  | PC3-20-20-22-54 |  | 6 | Operating days per week
| 208 | 25 | 210.5 | 68 |  | PC3-20-25-22-68 |  | 460 | VOLTS (208,380,440 OR 575)
| 208 | 30 | 211 | 80 | 3 | PC3-20-30-22-80 |  | 5 | Horsepower of the Motor
| 208 | 40 | 212 | 104 |  | PC3-20-40-22-104 |  | 1350 | Price
| 208 | 50 | 213 | 130 |  | PC3-20-50-22-130 |  | 50% | Assumed Savings Percentage
| 230 | 5 | 230.5 | 15.2 |  | PC3-20-5-E1-22
| 230 | 7.5 | 230.75 | 22 |  | PC3-20-7.5-E1-22 |  | 5% | Estimated annual increase in power rate
| 230 | 10 | 231 | 28 |  | PC3-20-10-21-28
| 230 | 15 | 231.5 | 42 |  | PC3-20-15-22-42
| 230 | 20 | 232 | 54 |  | PC3-20-20-22-54 |  |  | SUMMARY RESULTS
| 230 | 25 | 232.5 | 68 |  | PC3-20-25-22-68 |  |  | Model No. |  | PC3-46-5-E1-11
| 230 | 30 | 233 | 80 |  | PC3-20-30-22-80 |  | Electricity cost per kWh |  | 0.04779
| 230 | 40 | 234 | 104 |  | PC3-20-40-22-104 |  | Annual Energy Cost Savings |  | 73.4063
| 230 | 50 | 235 | 130 |  | PC3-20-50-22-130 |  | Simple Payback (yrs) |  | 18.3908 | #REF!
| 380 | 5 | 380.5 | 9 | A | PC3-38-5-E1-9 |  | Return on Investment (IRR%) |  | 1.847%
| 380 | 7.5 | 380.75 | 13 | A | PC3-38-7.5-E1-13 |  | kW Savings |  | 1536.0188
| 380 | 10 | 381 | 17 | A | PC3-38-10-E1-17 |  | Rebate |  | #REF!
| 380 | 15 | 381.5 | 26 | 1 | PC3-38-15-21-26 |  | IRR% with Rebate |  | #VALUE!
| 380 | 20 | 382 | 34 | 1 | PC3-38-20-21-34
| 380 | 25 | 382.5 | 43 | 2 | PC3-38-25-22-43
| 380 | 30 | 383 | 52 | 2 | PC3-38-30-22-52
| 380 | 40 | 384 | 68 | 2 | PC3-38-40-22-68
| 380 | 50 | 385 | 86 | 3 | PC3-38-50-22-86 |  |  |  |  | FLA
| 380 | 60 | 386 | 104 | 3 | PC3-38-60-22-104 |  |  |  |  | 7.6
| 380 | 75 | 387.5 | 129 | 3 | PC3-38-75-22-129 |  |  |  |  | kW
| 380 | 100 | 390 | 145 | 4 | PC3-38-100-12-145 |  |  |  |  | 4.9594 | 0.23701
| 380 | 125 | 392.5 | 175 | 4 | PC3-38-125-12-175
| 440 | 7.5 | 440.75 | 11 | A | PC3-46-7.5-E1-11 |  |  |  |  | kW/yr no controller
| 440 | 10 | 441 | 14 |  | PC3-46-10-21-14 |  |  |  |  | 17020.7487
| 440 | 15 | 441.5 | 21 |  | PC3-46-15-21-21
| 440 | 20 | 442 | 27 | 1 | PC3-46-20-21-27 |  |  |  |  | kW/yr with controller
| 440 | 25 | 442.5 | 34 | 2 | PC3-46-25-22-34 |  |  |  |  | 8510.3743
| 440 | 30 | 443 | 40 |  | PC3-46-30-22-40
| 440 | 40 | 444 | 52 |  | PC3-46-40-22-52 |  |  |  |  | kW saved/yr
| 440 | 50 | 445 | 65 |  | PC3-46-50-22-65 |  |  |  |  | 8510.3743
| 440 | 60 | 446 | 77 | 3 | PC3-46-60-22-77
| 440 | 75 | 447.5 | 96 |  | PC3-46-75-22-96 |  |  |  |  | % Savings
| 440 | 100 | 450 | 124 |  | PC3-46-100-22-124 |  |  |  |  | 50%
| 460 | 5 | 460.5 | 7.6 |  | PC3-46-5-E1-11
| 460 | 7.5 | 460.75 | 11 |  | PC3-46-7.5-E1-11
| 460 | 10 | 461 | 14 |  | PC3-46-10-21-14
| 460 | 15 | 461.5 | 21 |  | PC3-46-15-21-21
| 460 | 20 | 462 | 27 |  | PC3-46-20-21-27
| 460 | 25 | 462.5 | 34 |  | PC3-46-25-22-34
| 460 | 30 | 463 | 40 |  | PC3-46-30-22-40
| 460 | 40 | 464 | 52 |  | PC3-46-40-22-52
| 460 | 50 | 465 | 65 |  | PC3-46-50-22-65
| 460 | 60 | 466 | 77 |  | PC3-46-60-22-77
| 460 | 75 | 467.5 | 96 |  | PC3-46-75-22-96
| 460 | 100 | 470 | 124 |  | PC3-46-100-22-124
| 575 | 10 | 576 | 11 | A | PC3-57-10-E1-11
| 575 | 15 | 576.5 | 17 |  | PC3-57-15-E1-17
| 575 | 20 | 577 | 22 |  | PC3-57-20-E1-22
| 575 | 25 | 577.5 | 27 | 1 | PC3-57-25-21-27
| 575 | 30 | 578 | 32 | 2 | PC3-57-30-22-32
| 575 | 40 | 579 | 41 |  | PC3-57-40-22-41
| 575 | 50 | 580 | 52 |  | PC3-57-50-22-52
| 575 | 60 | 581 | 62 |  | PC3-57-60-22-62
| 575 | 75 | 582.5 | 77 | 3 | PC3-57-75-22-77
| 575 | 100 | 585 | 99 |  | PC3-57-100-22-99
| 575 | 125 | 587.5 | 125 |  | PC3-57-125-22-125
|  | 0 | #REF! | 0 | #REF! | #REF! | #REF!
| PRICE= | -1350 | -1350 | -1350 | -1350 | -1350 | -1350 | 0.04779
| YR1 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | -1350
| YR2 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 73.4063
| YR3 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 77.0767
| YR4 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 80.9305
| YR5 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 84.977
| YR6 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 89.2259
| YR7 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 93.6872
| YR8 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 98.3715
| YR9 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 103.2901
| YR10 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 108.4546
| YR11 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 113.8773
| YR12 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 119.5712
| YR13 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 125.5497
| YR14 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 131.8272
| YR15 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 138.4186
145.3395
With Rebate
| PRICE= | -1350 | #REF! | -1350 | #REF! | #REF! | #REF!
| YR1 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| YR2 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 73.4063
| YR3 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 77.0767
| YR4 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 80.9305
| YR5 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 84.977
| YR6 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 89.2259
| YR7 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 93.6872
| YR8 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 98.3715
| YR9 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 103.2901
| YR10 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 108.4546
| YR11 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 113.8773
| YR12 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 119.5712
| YR13 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 125.5497
| YR14 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 131.8272
| YR15 | #DIV/0! | #REF! | #REF! | #REF! | #REF! | #REF! | 138.4186
145.3395